## Report
Jig S\N: | Jig1
Software Version: | 1
Calibration Date:
Calibration valid through:
Conducted by: | 234 | date | 2020-07-19 | signature
Approved by: |  | date |  | signature
Selected Bin: | 2+3
Sample Size: | 50
RED |  | Pass
Pass(green) | 1
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass
IR
Pass(green) | 1
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass

## Raw
WaveLength_RED | Bin_RED | Final_Integration_Time_RED | Final_Magnitude_RED | Verdict_RED | WaveLength_IR | Bin_IR | Final_Integration_Time_IR | Final_Magnitude_IR | Verdict_IR
659.825 | 2 | 20 | 0.79063 | 1 | 911.5969 | IR | 40 | 0.33299 | 1