## Report
Jig S\N: | Jig1
Software Version: | 1
Calibration Date:
Calibration valid through:
Conducted by: | 456 | date | 2020-07-20 | signature
Approved by: |  | date |  | signature
Selected Bin: | 2+3
Sample Size: | 50
RED |  | Pass
Pass(green) | 12
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass
IR
Pass(green) | 12
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass

## Raw
WaveLength_RED | Bin_RED | Final_Integration_Time_RED | Final_Magnitude_RED | Verdict_RED | WaveLength_IR | Bin_IR | Final_Integration_Time_IR | Final_Magnitude_IR | Verdict_IR
659.6827 | 2 | 50 | 0.94791 | 1 | 910.6761 | IR | 50 | 0.55098 | 1
659.5406 | 2 | 20 | 0.51829 | 1 | 910.9393 | IR | 40 | 0.45411 | 1
659.5406 | 2 | 20 | 0.51797 | 1 | 910.9393 | IR | 40 | 0.45543 | 1
659.5406 | 2 | 20 | 0.5175 | 1 | 910.9393 | IR | 40 | 0.4554 | 1
659.5406 | 2 | 20 | 0.51787 | 1 | 910.9393 | IR | 40 | 0.45535 | 1
659.5406 | 2 | 20 | 0.518 | 1 | 910.9393 | IR | 40 | 0.45578 | 1
659.6827 | 2 | 20 | 0.51651 | 1 | 911.0709 | IR | 40 | 0.46578 | 1
659.6827 | 2 | 20 | 0.51636 | 1 | 911.0709 | IR | 40 | 0.46575 | 1
659.6827 | 2 | 20 | 0.51632 | 1 | 911.0709 | IR | 40 | 0.4667 | 1
659.6827 | 2 | 20 | 0.51608 | 1 | 911.0709 | IR | 40 | 0.46682 | 1
659.6827 | 2 | 20 | 0.51625 | 1 | 911.0709 | IR | 40 | 0.46677 | 1
659.6827 | 2 | 20 | 0.51604 | 1 | 911.2024 | IR | 40 | 0.4699 | 1