## Report
Jig S\N: | Jig1
Software Version: | 1
Calibration Date:
Calibration valid through:
Conducted by: | 23452 | date | 2020-07-19 | signature
Approved by: |  | date |  | signature
Selected Bin: | 2+3
Sample Size: | 50
RED |  | Pass
Pass(green) | 10
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass
IR
Pass(green) | 10
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass

## Raw
WaveLength_RED | Bin_RED | Final_Integration_Time_RED | Final_Magnitude_RED | Verdict_RED | WaveLength_IR | Bin_IR | Final_Integration_Time_IR | Final_Magnitude_IR | Verdict_IR
659.825 | 2 | 20 | 0.78788 | 1 | 911.5969 | IR | 40 | 0.336 | 1
659.825 | 2 | 20 | 0.78624 | 1 | 911.5969 | IR | 40 | 0.33651 | 1
659.825 | 2 | 20 | 0.78686 | 1 | 911.7283 | IR | 40 | 0.33738 | 1
659.825 | 2 | 20 | 0.7862 | 1 | 911.7283 | IR | 40 | 0.33746 | 1
659.825 | 2 | 20 | 0.78642 | 1 | 911.7283 | IR | 40 | 0.33771 | 1
659.825 | 2 | 20 | 0.78599 | 1 | 911.5969 | IR | 40 | 0.33743 | 1
659.825 | 2 | 20 | 0.78543 | 1 | 911.7283 | IR | 40 | 0.33767 | 1
659.825 | 2 | 20 | 0.78572 | 1 | 911.7283 | IR | 40 | 0.33769 | 1
660.1093 | 2 | 20 | 0.43947 | 1 | 911.2024 | IR | 20 | 0.34115 | 1
660.1093 | 2 | 20 | 0.43424 | 1 | 911.2024 | IR | 20 | 0.34385 | 1