## Report
Jig S\N: | Jig1
Software Version: | 1
Calibration Date:
Calibration valid through:
Conducted by: | 2345 | date | 2020-07-20 | signature
Approved by: |  | date |  | signature
Selected Bin: | 1
Sample Size: | 50
RED |  | Fail
Pass(green) | 0
Pass(yellow) | 0
Fail | 2
Percent | 0
Pass\Fail | Fail
IR
Pass(green) | 2
Pass(yellow) | 0
Fail | 0
Percent | 0
Pass\Fail | Pass

## Raw
WaveLength_RED | Bin_RED | Final_Integration_Time_RED | Final_Magnitude_RED | Verdict_RED | WaveLength_IR | Bin_IR | Final_Integration_Time_IR | Final_Magnitude_IR | Verdict_IR
659.825 | 2 | 20 | 0.70794 | 3 | 911.9914 | IR | 80 | 0.5294 | 1
659.825 | 2 | 20 | 0.70708 | 3 | 911.9914 | IR | 80 | 0.52989 | 1